## Resumo Med
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项

## Cap.1
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Measurements
Artº | Description | the same | Leng | Width | Alt | Elementary | Partial | Total
1 | 0
1.1 | Shipyard
1.1.1 | 船厂的组装、施工、维护、拆卸和拆除，需符合职业安全、卫生和健康方面的要求，恢复所有需要执行的地役权和通行权，实施**PPGRCD**（建筑废弃物管理计划），制定并执行**安全与健康计划**，准备各种专业领域的**最终图纸**和**用户手册**，以及修建现场通道及其内部通行道路，确保符合现行法律法规的要求。 包括所有必要的**设施、设备和基础设施**，以支持和执行合同，例如**脚手架、临时屋顶、标识牌、工地围栏**，设备的调配以开展工作，以及**施工范围内的最终清理**，同时涵盖所有必要的施工工作和材料。 | 1 | 1 |  |  | 1 |  | vg
1
1.2 | Final Screenshots最终截图
1.2.1 | Execution and supply to the Owner of the Work, the final screens of the work in digital format. 以数字格式向作品所有者交付最终屏幕。 | 1
1
vg
1

## Cap.2
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
2 | 0

## Cap.3墙
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Description | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
3 | 0
3.1 | Paredes Exteriores-外墙砌筑
3.1.1 | 供应和建造 40x20x20 厘米的空心混凝土砌块墙，以 1：4 的比例铺设水泥和砂浆，包括比例为 1：3 的水泥和砂浆、混凝土门楣以及良好饰面所需的所有工作。
[9 empty] | 82.12 | 24.04
[8 empty] | m² | 59.14 | 42.1
3.2 | Interior Walls-内墙砌筑 | [6 empty] | 380.12 | 187.96 | 18.36
| 供应和建造一个 40x20x15 厘米的空心混凝土砌块墙，以 1：4 的比例铺设水泥和砂浆，包括比例为 1：3 的水泥和砂浆、混凝土门楣以及良好饰面所需的所有工作。 | [7 empty] | 22.52 | 3.08
[9 empty] | 28.38 | 22.8
[9 empty] | 380.12 | 8.18
[8 empty] | m² |  | 22.17
[8 empty] | 338.41 |  | 18.36
50.23
17.61
18.36
12.91
18.36
2.142
7.14
22.8
11.24
4.35
8.058
6.12
338.41

## Cap.4抹灰
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
4 | 0
4.1 | Exterior Walls-外墙抹灰
4.1.1 | 使用1：3、9毫米厚、6毫米厚的1：2.5水泥砂浆、平整度、饰面以及良好饰面所需的所有工作，在外墙上提供和执行泼溅、抹灰和抹灰。
380.12
[8 empty] | m² | 224.1
[8 empty] | 380.12 | 338.41
4.2 | Interior Walls-内墙抹灰 | [7 empty] | 562.51
4.2.1 | 供应和执行两侧内墙的泼溅、抹灰和抹灰，6 毫米厚的 1：2 水泥砂浆，抹灰良好，9 毫米厚的 1：3 水泥砂浆，包括砖石/混凝土过渡处的玻璃纤维网、饰面和良好饰面所需的所有工作。
562.51
m²
562.51
4.3 | Ceilings-天花板抹灰
4.3.1 | 供应和执行泼溅、抹灰和抹灰天花板与抹灰良好的水泥砂浆 5 毫米厚的 1：3 水泥砂浆，包括饰面和良好饰面所需的所有工作。
[7 empty] | 323.04 |  |  | 149.66
[8 empty] | m² |  | 148.98
[8 empty] | 323.04 |  | 24.4
323.04

## Cap.5
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
5 | 0
5.1 | Floors-楼层找平抹灰
5.1.1 | Supply and installation of a 1:3 cement-sand screed to regularize the interior floor, 20mm thick, for subsequent finishing, including finishes and joints, as well as all the work necessary for a good finish. 提供并安装1:3水泥-砂浆找平层，厚度为20mm，用于室内地面找平，以便后续施工，包括表面处理和接缝处理，以及所有必要的施工以确保良好的完工效果。
337.35
[8 empty] | m² | 116.96
[8 empty] | 337.35 | 49.6
5.2 | Roofs-屋顶保温、找平抹灰 | [7 empty] | 12.8
5.2.1 | Supply and installation of a 30mm-thick lightweight concrete formwork layer to form a 2% slope, including finishes and joints, as well as all the work necessary for a good finish. 供应和安装30毫米厚的轻质混凝土模板层，以形成2%的坡度，包括饰面和接缝，以及确保良好饰面所需的所有工作。 | [7 empty] | 135.75
[7 empty] | 180.87 |  | 22.24
[8 empty] | m² | 337.35
180.87
5.2.2 | Supply and installation of cement and sand levelling mortar to a thickness of 1:2.5, 30mm thick, including finishes and joints, as well as all the work necessary for a good finish. 供应和安装厚度为 1：2.5，30 毫米厚的水泥和沙子找平砂浆，包括饰面和接缝，以及良好饰面所需的所有工作。
180.87
m²
180.87

## Cap.6
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
6 | 0
6.1 | Floors-楼板防水、找平
6.1.1 | Supply and application of 2mm thick polymeric cementitious waterproofing mortar, including all work necessary for a good finish. (NOTE - The waterproofing should extend 30cm vertically along the wall). 供应和应用 2 毫米厚的聚合物水泥基防水砂浆，包括良好完成所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。
337.35
m²
337.35
6.1.2 | 在混凝土板上供应和涂抹一层水泥浆以实现粘合，包括完成良好饰面所需的所有工作。
337.35
m²
337.35
6.2 | Exterior Walls-外墙保温
6.2.1 | 供应和应用一层厚度为120毫米/75毫米的挤塑聚苯乙烯板绝缘材料，包括完成良好饰面所需的所有工作。 | [7 empty] | 22.68
[7 empty] | 68.86 |  | 22.68
[8 empty] | m² | 11.75
[8 empty] | 68.86 | 11.75
6.2.2 | 供应和涂抹用于固定螺柱的粘合剂，包括良好饰面所需的所有工作。 | [7 empty] | 68.86
68.86
m²
68.86
6.2.3 | 供应和应用6毫米厚的塑料胶粘腻子，中间贴有碱性玻璃纤维网，柔韧且防水的腻子，带有拉丝饰面，包括实现良好饰面所需的所有工作。
68.86
m²
68.86
6.3 | Flaps and roof--挡板和屋顶防水
6.3.1 | Supply and application of insulation in 80mm thick extruded polystylene sheets, including all work necessary for a good finish. (NOTE - The waterproofing should extend 30cm vertically down the wall). 提供并安装80mm厚的挤塑聚苯乙烯（XPS）保温板，包括所有必要的施工以确保良好的完工效果 （注：防水层应沿墙面垂直向下延伸30cm。）
180.87
m²
180.87
6.3.2 | 供应和应用带有 0.4 毫米厚聚乙烯薄膜的屋顶防水材料，包括良好饰面所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。
180.87
m²
180.87
6.3.3 | 使用 4 毫米厚的聚酯沥青织物卷供应和应用屋顶防水，包括良好饰面所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。
180.87
m²
180.87

## Cap.7
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
7 | 0 | [7 empty] | 148.98
7.1 | 供应和安装 12 毫米厚的装饰石膏板，配有自攻螺钉，开口填充填料，轻钢梁（双层），包括完成良好饰面所需的所有工作。TEC.01 | [7 empty] | 100.61
249.59
[8 empty] | m² | 249.59
249.59
7.2 | 供应和安装 2.5 毫米厚的 PVC 板，用自攻螺钉和轻钢条（双层）固定，包括完成良好饰面所需的所有工作。TEC.02 | [6 empty] | m²
[8 empty] | 73.45 | 49.05
24.4
73.45

## Cap.8
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
8 | 0
8.1.1 | Execution of a reinforced concrete slab roof, including fixing accessories and all the work necessary for a perfect finish. 钢筋混凝土板屋顶的施工，包括固定配件和完美完成所需的所有工作。
180.87
m²
180.87
8.1.2 | Supply and installation of 0.65mm thick zinc sheet metal ruff, including bending, folding and fixing, and all work necessary for a good finish. 提供并安装0.65mm厚的锌板檐口，包括折弯、折叠、固定及所有必要的施工，以确保良好的完工效果。
66.82
m²
66.82

## Cap.9
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
9 | 0
9.1 | Floors
9.1.1 | Supply and laying of 10mm thick porcelain tiles on the floor, including all work necessary for a good finish. PAV01 供应并铺设 10 毫米厚的瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV01
| Workrooms, Lobby, Corridor 工作室、大厅、走廊 | [5 empty] | 128.91
m²
118.31
9.1.2 | Supply and laying of 10mm thick non-slip porcelain tiles on the floor, including all the work necessary for a good finish. PAV02 供应并铺设 10 毫米厚的防滑瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV02
| Women's shower room, Women's I.S., I.S. Mob. Cond., Men's restroom, Men's I.S., Men's shower room AND staircase 女浴室、女 I.S.、I.S. 移动条件、男洗手间、男 I.S.、男浴室和楼梯 | [6 empty] | m²
84.05
9.1.3 | Supply and laying of 10 mm thick porcelain tiles on the floor, including all work necessary for a good finish. PAV03供应并铺设 10 毫米厚的瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV03
| Workrooms, corridor _Floor 1 工作间，走廊 _一层 | [6 empty] | m²
100.61
9.1.4 | Supply and laying of 12 mm thick non-slip ceramic tiles on the floor, including all work necessary for a good finish. 在地板上供应和铺设 12 毫米厚的防滑瓷砖，包括完成良好饰面所需的所有工作。PAV06PAV06
坡道Ramp
m²
12.81
9.2 | Walls
9.2.1 | Supply and laying of 5 mm thick tiles on interior walls, including all work necessary for a good finish. PAR 02 在内墙上供应和铺设 5 毫米厚的瓷砖，包括完成良好饰面所需的所有工作。PAR 02
| Female Bathing Room, Female I.S., I.S Mob. Cond., Men's restroom, Men's I.s., Men's changing room. 女性浴室、女性 I.S.、I.S. 机动部队、男洗手间、男 I.S.、男更衣室。 |  |  |  |  | 0 | 153.05
m²
153.05

## Cap.10
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
10 | 0
10.1 | Exterior Walls-外墙漆
10.1.1 | Supply and application of paint on exterior walls, including cleaning and all work necessary for a perfect finish. PAR01 外墙油漆的供应和应用，包括清洁和实现完美饰面所需的所有工作。PAR01
380.12
m²
380.12
10.2 | Interior Walls-内墙漆
10.2.1 | Supply and application of interior wall paint, including cleaning and all work necessary for a good finish. PAR02 供应和应用内墙涂料，包括清洁和所有必要的工作以获得良好的饰面。PAR02
409.46
m²
409.46
10.3 | Ceilings-吊顶
10.3.1 | Supply and application of false ceiling paint with one coat of primer and two coats of paint, including cleaning and all work necessary for a good finish. TEC 01 供应和应用假天花板涂料，包括一层底漆和两层涂料，以及清洁和确保良好饰面所需的所有工作。TEC 01
249.59
m²
249.59

## Cap.11踢脚线
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
11 | 0
Floor 0 and Floor 1-踢脚线
11.1 | Supply and installation of veneered ceramic skirting 8mm high and 5mm thick, including all work necessary for a perfect finish. ROD 01 供应和安装8毫米高、5毫米厚的贴面陶瓷踢脚线，包括完美饰面所需的所有工作。ROD 01 |  | 14.09 | 0.05 | 0.08
153.04
ml
153.04

## Cap.12窗
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
12 | 0
12.1 | Window openings
12.2.1 | Supply and installation of an opening window with four hinged leaves and two fixed leaves, comprising a frame and PVC profiles 2.8 mm thick. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm. Double-glazed transparent tempered glass 4+10+4mm thick, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 01 (2.10x2.70m) 供应和安装一个带有四个铰链叶和两个固定叶的开启窗，包括一个框架和厚度为 2.8 毫米的 PVC 型材。可移动和固定的 PVC 和钢框架，最小厚度为 2.8 毫米。双层透明钢化玻璃厚度为 4+10+4 毫米，内部充氩气，20% 紫外线透过率，热传递系数 U 0.60 w/m2k，包括配件和所有必要的工作以确保良好的完成。并符合图纸要求。JA 01（2.10x2.70米）
14
Un
14
12.2.2 | Supply and installation of a four-sash window, comprising a frame and UPVC/PVC profiles 2.8 mm thick. Movable and fixed PVC and STEEL frames with a minimum thickness of 2.8 mm. 4+10+4 mm thick double tempered transparent smoked glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings 供应和安装四扇窗，包括一个框架和 2.8 毫米厚的 UPVC/PVC 型材。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米。4+10+4 毫米厚的双钢化透明烟熏玻璃，内部氩气，20% 紫外线透射，热传递系数 U 0.60 w/m2k。 光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸
| JA 02 (3.40x0.60m. ) |  |  |  |  | 2 |  | Un
| JA 03 (3.00x0.60m ) |  |  |  |  | 2 |  | Un
12.2.2 | Supply and installation of a five-leaf tilting window with 2.8 mm thick UPVC/PVC frame and profiles. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm. Tinted transparent double tempered glass 4+10+4mm thick, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 04 (4.20x0.60m) 供应和安装带有 2.8 毫米厚 UPVC/PVC 框架和型材的五扇倾斜窗。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米。有色透明双层钢化玻璃 4+10+4mm 厚，内部氩气，20% 紫外线透射，传热系数 U 0.60 w/m2k。光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸。JA 04 （4.20x0.60 米）
[6 empty] | 4 |  | Un
12.2.3 | Supply and installation of an opening window with four casement leaves and nine fixed leaves, made up of a 2.8 mm thick PVC/PVC frame and profiles. Movable and fixed frames in PVC and STEEL with a minimum thickness of 2.8 mm. 4+10+4mm thick double tempered transparent tinted glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 05 (2.10mx6.30m) 供应和安装一个带有四个平开扇和九个固定扇的开启窗，采用2.8毫米厚的PVC/PVC框架和型材。可移动和固定框架采用PVC和钢，最小厚度为2.8毫米。4+10+4毫米厚的双层钢化透明有色玻璃，内部充有氩气，20%紫外线透过率，热传递系数U 0.60 w/m2k 光滑的白色表面，包括配件和所有必要的工作以确保良好的表面效果，并符合图纸要求。JA 05（2.10米x6.30米）
[6 empty] | 1 |  | Un
12.2.4 | Supply and installation of a twenty-two pane fixed window with 2.8 mm thick UPVC/PVC frame and profiles. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm, V4+10+4mm thick, double tempered transparent smoked glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 06 ( 2.64x6.30m) 供应和安装一个 22 窗格固定窗，带有 2.8 毫米厚的 UPVC/PVC 框架和型材。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米，V4+10+4 毫米厚，双钢化透明烟熏玻璃，内部氩气，20% 紫外线透射，热传递系数 U 0.60 w/m2k。光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸。JA 06 （ 2.64x6.30米）
[6 empty] | 1 |  | Un

## 门
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
13 | 0
13.1 | Door openings
13.1.1 | Supply and installation of single-leaf sliding door with solid wood frame and phenolic panel leaf. Frame in solid wood. Lightened door leaf in FUNDERMAX COMPACT phenolic panels 3 mm thick on each side, interior in 40 mm thick extruded polystyrene. Finished in RAL 9010 medium gloss lacquer, including fittings and all the work necessary for a good finish. And in accordance with the drawings. PC 01 (0.90x2.10m.) 供应和安装带实木框架和酚醛板扇的单扇推拉门。框架为实木。门扇采用每边3毫米厚的FUNDERMAX COMPACT酚醛板，内部为40毫米厚的挤塑聚苯乙烯。表面涂有RAL 9010中光泽漆，包括配件和所有必要的工作以确保良好的饰面，并符合图纸要求。PC 01（0.90x2.10m） | [5 empty] | 1 | Un
13.1.2 | Supply and installation of single-leaf doorway with solid wood frame and phenolic panel leaf. Solid wood frame. Lightened door leaf in FUNDERMAX COMPACT phenolic panels 3 mm thick on each side, interior in 40 mm thick extruded polystyrene, finished in RAL 9010 medium gloss lacquer, including fittings and all work necessary for a good finish. And in accordance with the drawings. PC 02 (0.80x2.10m.) 供应和安装带有实木框架和酚醛板扇的单叶门。实木框架。FUNDERMAX COMPACT 酚醛板制成的轻质门扇每边厚 3 毫米，内部为 40 毫米厚的挤塑聚苯乙烯，表面涂有 RAL 9010 中等光泽漆，包括配件和良好饰面所需的所有工作，并符合图纸要求。PC 02 （0.80x2.10m.） | [5 empty] | 8 | Un
13.2.1
13.2.1

## Cap. 14门
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
14 | 0
14.1 | Door openings
14.1.1 | Supply and installation of “Hormann” doors with two 45mm thick sweep leaves, 1.5mm thick steel sheet on both sides, ref. D45, comprising system steel profiles, including automatic lifting mechanism, fittings and all work necessary for a good finish. 供应和安装“Hormann”门，配有两个 45 毫米厚的扫地叶片，双面 1.5 毫米厚的钢板，参考编号 D45，包括系统钢型材、自动升降机制、配件以及所有必要的工作以确保良好的表面处理。
| PS 01 (1.20x2.10m) | [5 empty] | 1
Un
1
| PS 02 (1.27x2.10m) | [5 empty] | 2 | Un
2
14.1.2 | Supply and installation of “Hormann” doors with a 45mm thick sweep leaf, 1.5mm thick steel sheet on both sides, ref. D45, comprising system steel profiles, including automatic lifting mechanism, fittings and all work necessary for a good finish. 供应和安装“Hormann”门，带有 45 毫米厚的扫叶，两侧为 1.5 毫米厚的钢板，参考 D45，包括系统钢型材、自动升降机制、配件以及所有必要的工作以确保良好的表面处理。
| PS 03 (1.00x2.10m) | [5 empty] | 2
Un
2
PS 03 (0.93x2.10m)
[7 empty] | 3 | Un
3

## Cap.15卫浴设备
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
15 | 0
| Supply and installation of faucet for washbasin and all work necessary for a good finish. Eq01 洗脸盆水龙头的供应和安装以及所有必要的工作以确保良好的完成。Eq01 | [6 empty] | 8
| Supply and installation of shower and all work necessary for a good finish. Eq02 淋浴设备的供应和安装以及完成良好所需的所有工作。Eq02 | [6 empty] | 3
| Supply and installation of white ceramic washbasin and all work necessary for a good finish. Eq03 供应和安装白色陶瓷洗手盆及完成良好表面所需的所有工作。Eq03 | [6 empty] | 8
| Supply and installation of a white ceramic toilet and all the work necessary for a good finish. Eq04 供应和安装白色陶瓷马桶及其所需的所有工作，以确保良好的完成。Eq04 | [6 empty] | 9
| Supply and installation of a white ceramic urinal and all the work required for a good finish. Eq05 供应和安装白色陶瓷小便池及其所需的所有工作，以确保良好的完成。Eq05 | [6 empty] | 4
Supply and assembly of plastic partitioning for bathrooms equipped with toilet paper box and all the work necessary for a good finish. Eq06 为配备卫生纸盒的浴室提供和组装塑料隔断，以及完成良好装饰所需的所有工作。Eq06
| 1_2.70x1.90m | [6 empty] | 1
| 2_1.54x1.90m. | [6 empty] | 6
| 3_2.20x1.90m. | [6 empty] | 1
| 4_1.88x1.90m. | [6 empty] | 1
| 5_1.82x1.90m. | [6 empty] | 1
| Supply and assembly of plastic urinal separator and all work necessary for a good finish. Eq07 塑料小便池隔板的供应和组装以及所需的所有工作以确保良好的完成。Eq07 | [6 empty] | 4
| Supply and application of mirror and all work necessary for a good finish. Eq08 镜子的供应和应用以及获得良好饰面所需的所有工作。Eq08 | [6 empty] | 8
| Supply and installation of toilets for PMR sanitary installations and all the work required for a good finish. Eq12 为 PMR 卫生设施提供和安装厕所，以及完成良好装修所需的所有工作。Eq12 | [6 empty] | 1
| Supply and installation of stainless steel support bars for PMR bathrooms and all the work necessary for a good finish. Eq13 为 PMR 浴室供应和安装不锈钢支撑杆，以及确保良好完成所需的所有工作。Eq13 | [6 empty] | 1
| Supply and assembly of stainless steel support bars for PMR toilets and all the work required for a good finish. Eq14 为 PMR 马桶供应和组装不锈钢支撑杆，以及确保良好饰面所需的所有工作。Eq14 | [6 empty] | 1
| Supply and installation of a ceramic washbasin for PMR sanitary facilities and all the work necessary for a good finish. Eq15 为无障碍卫生设施提供和安装陶瓷洗脸盆，并完成所有必要的施工以确保良好的完工效果。Eq15 | [6 empty] | 1
| Supply and assembly of stainless steel support bars for PMR toilets and all work necessary for a good finish. Eq17 为无障碍卫生间提供并安装不锈钢扶手，并完成所有必要的施工以确保良好的完工效果。Eq17 | [6 empty] | 1
| Supply and installation of space-saving siphon for 2 washbasins and all work necessary for a good finish. Eq22 为两个洗脸盆提供和安装节省空间的虹吸管，以及完成良好饰面所需的所有工作。Eq22 | [6 empty] | 8
| Supply and installation of toilet roll holder with lid. and all work necessary for a good finish. Eq23 供应和安装带盖的卫生纸架，以及完成良好饰面所需的所有工作。Eq23 | [6 empty] | 9
| Supply of toilet brush and floor-mounted toilet brush holder. Eq24 供应马桶刷和落地式马桶刷架。Eq24 | [6 empty] | 9
| Supply of 5L stainless steel waste garbage can with lid. Eq25 供应 5L 不锈钢带盖垃圾桶。Eq25 | [6 empty] | 9
| Supply of liquid soap dispenser application. Eq28 液体肥皂分配器应用的供应。Eq28 | [6 empty] | 4
| Supply of paper towel dispenser application. Eq29 纸巾分配器应用的供应。Eq29 | [6 empty] | 4
| Supply of stainless steel automatic hand dryer application. Eq30 不锈钢自动干手器应用的供应。Eq30 | [6 empty] | 4

## Cap.16
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
16 | 0
16.1 | Supply of work table with 2 office seats including chairs. 提供带有 2 个办公座椅的工作台，包括椅子。
2
Un
2
16.2 | Supply of work table with 4 office seats including chairs. 提供带有 4 个办公座椅的工作台，包括椅子。
Un
1
16.3 | Supply of work table with 6 office seats including chairs. 提供带有 6 个办公座椅的工作台，包括椅子。
Un
1
16.4 | Supply of work table with 7 office seats including chairs. 提供工作台和 7 个办公座椅，包括椅子。
Un
2
16.5 | Supply of 3-seater sofa. 供应三人沙发。
4
Un
4
16.6 | Supply of side table (center) 侧桌供应（中心）
3
Un
3
16.7 | Supply of filing cabinets 文件柜供应
17
Un
17
16.8 | Supply of plastic cacifers for Balneario. Eq18 为 Balneario 供应塑料罐。EQ18
[7 empty] | 6 | Un
6

## Cap.17
#REF!
#REF!
### **新波尔图卡约_卡宾达大楼** **04_IS PS 大楼** **建筑** 执行项目 **2025年1月** ### **测量** - **第1章** - 场地与安全计划 - **第2章** - 拆除/移除 - **第3章** - 施工 - **第4章** - 修复 - **第5章** - 地面/填充 - **第6章** - 防水/隔热 - **第7章** - 屋顶工程 - **第8章** - 覆盖层 - **第9章** - 屋面工程 - **第10章** - 油漆 - **第11章** - 门 - **第12章** - 窗框安装 - **第13章** - 木工窗户 - **第14章** - 金属板加工 - **第15章** - 设备及配件 - **第16章** - 家具 - **第17章** - 杂项
0
Medições
Artº | Descrição | iguais | Comp | Larg | Alt | Elementar | Parcial | Total
17 | 0
17.1 | Guards警卫
17.1.1 | Supply and installation of a 0.90 m high handrail in brushed stainless steel tubes and a 30 x 30 mm brushed stainless steel flat bar (upstream), including fixing accessories and all work necessary for a good finish. And in accordance with the drawings. 供应和安装一个 0.90 m 高的拉丝不锈钢管扶手和一个 30 x 30 mm 的拉丝不锈钢扁杆（上游），包括固定附件和良好饰面所需的所有工作。并按照图纸。
| Staircase _GUARD 01 | 1 | 5.7 |  | 0.9 |  |  | 5.7
| Ramp _GUARD 02 | 1 | 3.6 |  | 0.9 |  |  | 3.6
| Guard _GUARD 03 | 1 | 2.2 |  | 0.9 |  |  | 2.2
17.3 | Stonework石材工艺
Supply and installation of marble countertops. Including all work necessary for a good finish. EQ 09 大理石台面的供应和安装。包括完成良好饰面所需的所有工作。EQ 09
9.2
ml
9.2

## ARQ 汇总表
CLIENT: |  |  | REVIEW: | DATE:
CRBC |  |  | 0 | 2025-01-28
DRAFT: |  |  | AUTHORED BY:
#REF! |  |  | LD
#REF!
PROCESS NO: |  |  | CHECKED:
211079 |  |  | BS / JC
PHASE:
EXECUTION PROJECT
SPECIALTY:
ARCHITECTURE
Item | Designation | Unid. | Quant. | Preço Total (AKZ)
NOTE: The work to be carried out is defined in the project, which includes the statement of works and quantities, descriptive and justifying documents and drawings. Once the contract has been awarded and before the defined work begins, the contractor must carry out the preparatory work that should underpin his preparation and approach to the work. The statement of works and quantities does not in itself constitute an exhaustive description of the conditions under which the supplies and works are to be carried out. 注意：要进行的工作在项目中定义，其中包括工程和数量的说明、描述性和证明性文件以及图纸。一旦合同被授予，并且在规定的工作开始之前，承包商必须进行准备工作，以支撑他对工作的准备和方法。工程和数量的说明本身并不构成对供应和工程进行的条件的详尽描述。
1 | 0
1.1 | Shipyard
1.1.1 | 船厂的组装、施工、维护、拆卸和拆除，需符合职业安全、卫生和健康方面的要求，恢复所有需要执行的地役权和通行权，实施**PPGRCD**（建筑废弃物管理计划），制定并执行**安全与健康计划**，准备各种专业领域的**最终图纸**和**用户手册**，以及修建现场通道及其内部通行道路，确保符合现行法律法规的要求。 包括所有必要的**设施、设备和基础设施**，以支持和执行合同，例如**脚手架、临时屋顶、标识牌、工地围栏**，设备的调配以开展工作，以及**施工范围内的最终清理**，同时涵盖所有必要的施工工作和材料。 | vg | 1
1.2 | Final Screenshots最终截图
1.2.1 | Execution and supply to the Owner of the Work, the final screens of the work in digital format. 以数字格式向作品所有者交付最终屏幕。 | vg | 1
2 | 0
3 | 0
3.1 | Paredes Exteriores-外墙砌筑
3.1.1 | 供应和建造 40x20x20 厘米的空心混凝土砌块墙，以 1：4 的比例铺设水泥和砂浆，包括比例为 1：3 的水泥和砂浆、混凝土门楣以及良好饰面所需的所有工作。 | m² | 380.12
3.2 | Interior Walls-内墙砌筑
3.2.1 | 供应和建造一个 40x20x15 厘米的空心混凝土砌块墙，以 1：4 的比例铺设水泥和砂浆，包括比例为 1：3 的水泥和砂浆、混凝土门楣以及良好饰面所需的所有工作。 | m² | 338.41
4 | 0
4.1 | Exterior Walls-外墙抹灰
4.1.1 | 使用1：3、9毫米厚、6毫米厚的1：2.5水泥砂浆、平整度、饰面以及良好饰面所需的所有工作，在外墙上提供和执行泼溅、抹灰和抹灰。 | m² | 380.12
4.2 | Interior Walls-内墙抹灰
4.2.1 | 供应和执行两侧内墙的泼溅、抹灰和抹灰，6 毫米厚的 1：2 水泥砂浆，抹灰良好，9 毫米厚的 1：3 水泥砂浆，包括砖石/混凝土过渡处的玻璃纤维网、饰面和良好饰面所需的所有工作。 | m² | 562.51
4.3 | Ceilings-天花板抹灰
4.3.1 | 供应和执行泼溅、抹灰和抹灰天花板与抹灰良好的水泥砂浆 5 毫米厚的 1：3 水泥砂浆，包括饰面和良好饰面所需的所有工作。 | m² | 323.04
5 | 0
5.1 | Floors-楼层找平抹灰
5.1.1 | Supply and installation of a 1:3 cement-sand screed to regularize the interior floor, 20mm thick, for subsequent finishing, including finishes and joints, as well as all the work necessary for a good finish. 提供并安装1:3水泥-砂浆找平层，厚度为20mm，用于室内地面找平，以便后续施工，包括表面处理和接缝处理，以及所有必要的施工以确保良好的完工效果。 | m² | 337.35
5.2 | Roofs-屋顶保温、找平抹灰
5.2.1 | Supply and installation of a 30mm-thick lightweight concrete formwork layer to form a 2% slope, including finishes and joints, as well as all the work necessary for a good finish. 供应和安装30毫米厚的轻质混凝土模板层，以形成2%的坡度，包括饰面和接缝，以及确保良好饰面所需的所有工作。 | m² | 180.87
5.2.2 | Supply and installation of cement and sand levelling mortar to a thickness of 1:2.5, 30mm thick, including finishes and joints, as well as all the work necessary for a good finish. 供应和安装厚度为 1：2.5，30 毫米厚的水泥和沙子找平砂浆，包括饰面和接缝，以及良好饰面所需的所有工作。 | m² | 180.87
6 | 0
6.1 | Floors-楼板防水、找平
6.1.1 | Supply and application of 2mm thick polymeric cementitious waterproofing mortar, including all work necessary for a good finish. (NOTE - The waterproofing should extend 30cm vertically along the wall). 供应和应用 2 毫米厚的聚合物水泥基防水砂浆，包括良好完成所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。 | m² | 337.35
6.1.2 | 在混凝土板上供应和涂抹一层水泥浆以实现粘合，包括完成良好饰面所需的所有工作。 | m² | 337.35
6.2 | Exterior Walls-外墙保温
6.2.1 | 供应和应用一层厚度为120毫米/75毫米的挤塑聚苯乙烯板绝缘材料，包括完成良好饰面所需的所有工作。 | m² | 68.86
6.2.2 | 供应和涂抹用于固定螺柱的粘合剂，包括良好饰面所需的所有工作。 | m² | 68.86
6.2.3 | 供应和应用6毫米厚的塑料胶粘腻子，中间贴有碱性玻璃纤维网，柔韧且防水的腻子，带有拉丝饰面，包括实现良好饰面所需的所有工作。 | m² | 68.86
6.3 | Flaps and roof--挡板和屋顶防水
6.3.1 | Supply and application of insulation in 80mm thick extruded polystylene sheets, including all work necessary for a good finish. (NOTE - The waterproofing should extend 30cm vertically down the wall). 提供并安装80mm厚的挤塑聚苯乙烯（XPS）保温板，包括所有必要的施工以确保良好的完工效果 （注：防水层应沿墙面垂直向下延伸30cm。） | m² | 180.87
6.3.2 | 供应和应用带有 0.4 毫米厚聚乙烯薄膜的屋顶防水材料，包括良好饰面所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。 | m² | 180.87
6.3.3 | 使用 4 毫米厚的聚酯沥青织物卷供应和应用屋顶防水，包括良好饰面所需的所有工作。（注意 - 防水层应沿墙壁垂直延伸 30 厘米）。 | m² | 180.87
7 | 0
7.1 | 供应和安装 12 毫米厚的装饰石膏板，配有自攻螺钉，开口填充填料，轻钢梁（双层），包括完成良好饰面所需的所有工作。TEC.01 | m² | 249.59
7.2 | Supply and installation of 0.65mm thick zinc sheet metal ruff, including bending, folding and fixing, and all work necessary for a good finish. 提供并安装0.65mm厚的锌板檐口，包括折弯、折叠、固定及所有必要的施工，以确保良好的完工效果。 | m² | 73.45
8 | 0
8.1 | Execution of a reinforced concrete slab roof, including fixing accessories and all the work necessary for a perfect finish. 钢筋混凝土板屋顶的施工，包括固定配件和完美完成所需的所有工作。 | m² | 180.87
8.2 | Supply and installation of 0.65mm thick zinc sheet metal ruff, including bending, folding and fixing, and all work necessary for a good finish. 提供并安装0.65mm厚的锌板檐口，包括折弯、折叠、固定及所有必要的施工，以确保良好的完工效果。 | m² | 66.82
9 | 0
9.1 | Floors
9.1.1 | Supply and laying of 10mm thick porcelain tiles on the floor, including all work necessary for a good finish. PAV01 供应并铺设 10 毫米厚的瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV01 | m² | 118.31
9.1.2 | Supply and laying of 10mm thick non-slip porcelain tiles on the floor, including all the work necessary for a good finish. PAV02 供应并铺设 10 毫米厚的防滑瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV02 | m² | 84.05
9.1.3 | Supply and laying of 10 mm thick porcelain tiles on the floor, including all work necessary for a good finish. PAV03供应并铺设 10 毫米厚的瓷砖在地板上，包括完成良好饰面所需的所有工作。PAV03 | m² | 100.61
9.1.4 | Supply and laying of 12 mm thick non-slip ceramic tiles on the floor, including all work necessary for a good finish. 在地板上供应和铺设 12 毫米厚的防滑瓷砖，包括完成良好饰面所需的所有工作。PAV06PAV06 | m² | 12.81
9.2 | Walls
9.2.1 | Supply and laying of 5 mm thick tiles on interior walls, including all work necessary for a good finish. PAR 02 在内墙上供应和铺设 5 毫米厚的瓷砖，包括完成良好饰面所需的所有工作。PAR 02 | m² | 153.05
10 | 0
10.1 | Exterior Walls-外墙漆
10.1.1 | Supply and application of paint on exterior walls, including cleaning and all work necessary for a perfect finish. PAR01 外墙油漆的供应和应用，包括清洁和实现完美饰面所需的所有工作。PAR01 | m² | 380.12
10.2 | Interior Walls-内墙漆
10.2.1 | Supply and application of interior wall paint, including cleaning and all work necessary for a good finish. PAR02 供应和应用内墙涂料，包括清洁和所有必要的工作以获得良好的饰面。PAR02 | m² | 409.46
10.3 | Ceilings-吊顶
10.3.1 | Supply and application of false ceiling paint with one coat of primer and two coats of paint, including cleaning and all work necessary for a good finish. TEC 01 供应和应用假天花板涂料，包括一层底漆和两层涂料，以及清洁和确保良好饰面所需的所有工作。TEC 01 | m² | 249.59
11 | 0
11.1 | Supply and installation of veneered ceramic skirting 8mm high and 5mm thick, including all work necessary for a perfect finish. ROD 01 供应和安装8毫米高、5毫米厚的贴面陶瓷踢脚线，包括完美饰面所需的所有工作。ROD 01 | ml | 153.04
12 | 0
NOTE - For the purposes of measurement, the supply and installation of ready-made, finished and functioning openings is considered to be included in each paragraph, including the execution of the opening in accordance with the project drawings, its installation, as well as the application of fittings and glazing, its finishing and final adjustment, being delivered in perfect working order, finish and cleanliness. 注意 - 为了测量的目的，每段都包括现成的、完成的和功能性的开口的供应和安装，包括根据项目图纸执行开口、安装以及配件和玻璃的应用、精加工和最终调整，以完美的工作状态、表面处理和清洁度交付。
12.1 | Window openings
12.1.1 | Supply and installation of an opening window with four hinged leaves and two fixed leaves, comprising a frame and PVC profiles 2.8 mm thick. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm. Double-glazed transparent tempered glass 4+10+4mm thick, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 01 (2.10x2.70m) 供应和安装一个带有四个铰链叶和两个固定叶的开启窗，包括一个框架和厚度为 2.8 毫米的 PVC 型材。可移动和固定的 PVC 和钢框架，最小厚度为 2.8 毫米。双层透明钢化玻璃厚度为 4+10+4 毫米，内部充氩气，20% 紫外线透过率，热传递系数 U 0.60 w/m2k，包括配件和所有必要的工作以确保良好的完成。并符合图纸要求。JA 01（2.10x2.70米） | Un | 14
12.1.2 | Supply and installation of a four-sash window, comprising a frame and UPVC/PVC profiles 2.8 mm thick. Movable and fixed PVC and STEEL frames with a minimum thickness of 2.8 mm. 4+10+4 mm thick double tempered transparent smoked glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings 供应和安装四扇窗，包括一个框架和 2.8 毫米厚的 UPVC/PVC 型材。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米。4+10+4 毫米厚的双钢化透明烟熏玻璃，内部氩气，20% 紫外线透射，热传递系数 U 0.60 w/m2k。 光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸
12.1.2.1 | JA 02 (3.40x0.60m. ) | Un | 2
12.1.2.2 | JA 03 (3.00x0.60m ) | Un | 2
12.1.3 | Supply and installation of a five-leaf tilting window with 2.8 mm thick UPVC/PVC frame and profiles. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm. Tinted transparent double tempered glass 4+10+4mm thick, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 04 (4.20x0.60m) 供应和安装带有 2.8 毫米厚 UPVC/PVC 框架和型材的五扇倾斜窗。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米。有色透明双层钢化玻璃 4+10+4mm 厚，内部氩气，20% 紫外线透射，传热系数 U 0.60 w/m2k。光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸。JA 04 （4.20x0.60 米） | Un | 4
12.1.4 | Supply and installation of an opening window with four casement leaves and nine fixed leaves, made up of a 2.8 mm thick PVC/PVC frame and profiles. Movable and fixed frames in PVC and STEEL with a minimum thickness of 2.8 mm. 4+10+4mm thick double tempered transparent tinted glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 05 (2.10mx6.30m) 供应和安装一个带有四个平开扇和九个固定扇的开启窗，采用2.8毫米厚的PVC/PVC框架和型材。可移动和固定框架采用PVC和钢，最小厚度为2.8毫米。4+10+4毫米厚的双层钢化透明有色玻璃，内部充有氩气，20%紫外线透过率，热传递系数U 0.60 w/m2k 光滑的白色表面，包括配件和所有必要的工作以确保良好的表面效果，并符合图纸要求。JA 05（2.10米x6.30米） | Un | 1
12.1.5 | Supply and installation of a twenty-two pane fixed window with 2.8 mm thick UPVC/PVC frame and profiles. Movable and fixed PVC and STEEL frame with a minimum thickness of 2.8 mm, V4+10+4mm thick, double tempered transparent smoked glass, argon gas inside, 20% UV transmission, thermal transfer coefficient U 0.60 w/m2k. Smooth white finish, including fittings and all work necessary for a good finish. And in accordance with the drawings. JA 06 ( 2.64x6.30m) 供应和安装一个 22 窗格固定窗，带有 2.8 毫米厚的 UPVC/PVC 框架和型材。可移动和固定的 PVC 和 STEEL 框架，最小厚度为 2.8 毫米，V4+10+4 毫米厚，双钢化透明烟熏玻璃，内部氩气，20% 紫外线透射，热传递系数 U 0.60 w/m2k。光滑的白色饰面，包括配件和良好饰面所需的所有工作。并按照图纸。JA 06 （ 2.64x6.30米） | Un | 1
13 | 0
NOTE - For the purposes of measurement, the supply and installation of ready-made, finished and functioning openings is considered to be included in each paragraph, including the execution of the opening in accordance with the project drawings, its installation, as well as the application of fittings and glazing, its finishing and final adjustment, being delivered in perfect working order, finish and cleanliness.
13.1 | Door openings
13.1.1 | Supply and installation of single-leaf sliding door with solid wood frame and phenolic panel leaf. Frame in solid wood. Lightened door leaf in FUNDERMAX COMPACT phenolic panels 3 mm thick on each side, interior in 40 mm thick extruded polystyrene. Finished in RAL 9010 medium gloss lacquer, including fittings and all the work necessary for a good finish. And in accordance with the drawings. PC 01 (0.90x2.10m.) 供应和安装带实木框架和酚醛板扇的单扇推拉门。框架为实木。门扇采用每边3毫米厚的FUNDERMAX COMPACT酚醛板，内部为40毫米厚的挤塑聚苯乙烯。表面涂有RAL 9010中光泽漆，包括配件和所有必要的工作以确保良好的饰面，并符合图纸要求。PC 01（0.90x2.10m） | Un | 1
13.1.2 | Supply and installation of single-leaf doorway with solid wood frame and phenolic panel leaf. Solid wood frame. Lightened door leaf in FUNDERMAX COMPACT phenolic panels 3 mm thick on each side, interior in 40 mm thick extruded polystyrene, finished in RAL 9010 medium gloss lacquer, including fittings and all work necessary for a good finish. And in accordance with the drawings. PC 02 (0.80x2.10m.) 供应和安装带有实木框架和酚醛板扇的单叶门。实木框架。FUNDERMAX COMPACT 酚醛板制成的轻质门扇每边厚 3 毫米，内部为 40 毫米厚的挤塑聚苯乙烯，表面涂有 RAL 9010 中等光泽漆，包括配件和良好饰面所需的所有工作，并符合图纸要求。PC 02 （0.80x2.10m.） | Un | 8
14 | 0
14.1 | Door openings
14.1.1 | Supply and installation of “Hormann” doors with two 45mm thick sweep leaves, 1.5mm thick steel sheet on both sides, ref. D45, comprising system steel profiles, including automatic lifting mechanism, fittings and all work necessary for a good finish. 供应和安装“Hormann”门，配有两个 45 毫米厚的扫地叶片，双面 1.5 毫米厚的钢板，参考编号 D45，包括系统钢型材、自动升降机制、配件以及所有必要的工作以确保良好的表面处理。
14.1.1.1 | PS 01 (1.20x2.10m) | Un | 1
14.1.1.2 | PS 02 (1.27x2.10m) | Un | 2
14.1.2 | Supply and installation of “Hormann” doors with a 45mm thick sweep leaf, 1.5mm thick steel sheet on both sides, ref. D45, comprising system steel profiles, including automatic lifting mechanism, fittings and all work necessary for a good finish. 供应和安装“Hormann”门，带有 45 毫米厚的扫叶，两侧为 1.5 毫米厚的钢板，参考 D45，包括系统钢型材、自动升降机制、配件以及所有必要的工作以确保良好的表面处理。 | Un | 1
14.1.2.1 | PS 03 (1.00x2.10m) | Un | 2
14.1.2.2 | PS 03 (0.93x2.10m) | Un | 3
15 | 0
15.1 | Supply and installation of faucet for washbasin and all work necessary for a good finish. Eq01 洗脸盆水龙头的供应和安装以及所有必要的工作以确保良好的完成。Eq01 | Un | 8
15.2 | Supply and installation of shower and all work necessary for a good finish. Eq02 淋浴设备的供应和安装以及完成良好所需的所有工作。Eq02 | Un | 3
15.3 | Supply of work table with 6 office seats including chairs. 提供带有 6 个办公座椅的工作台，包括椅子。 | Un | 8
15.4 | Supply and installation of a white ceramic toilet and all the work necessary for a good finish. Eq04 供应和安装白色陶瓷马桶及其所需的所有工作，以确保良好的完成。Eq04 | Un | 9
15.5 | Supply and installation of a white ceramic urinal and all the work required for a good finish. Eq05 供应和安装白色陶瓷小便池及其所需的所有工作，以确保良好的完成。Eq05 | Un | 4
15.6 | Supply and assembly of plastic partitioning for bathrooms equipped with toilet paper box and all the work necessary for a good finish. Eq06 为配备卫生纸盒的浴室提供和组装塑料隔断，以及完成良好装饰所需的所有工作。Eq06
15.6.1 | 1_2.70x1.90m | Un | 1
15.6.2 | 2_1.54x1.90m. | Un | 6
15.6.3 | 3_2.20x1.90m. | Un | 1
15.6.4 | 4_1.88x1.90m. | Un | 1
15.6.5 | 5_1.82x1.90m. | Un | 1
15.7 | Supply and assembly of plastic urinal separator and all work necessary for a good finish. Eq07 塑料小便池隔板的供应和组装以及所需的所有工作以确保良好的完成。Eq07 | Un | 4
15.8 | Supply and application of mirror and all work necessary for a good finish. Eq08 镜子的供应和应用以及获得良好饰面所需的所有工作。Eq08 | Un | 8
15.9 | Supply and installation of toilets for PMR sanitary installations and all the work required for a good finish. Eq12 为 PMR 卫生设施提供和安装厕所，以及完成良好装修所需的所有工作。Eq12 | Un | 1
15.10 | Supply and installation of stainless steel support bars for PMR bathrooms and all the work necessary for a good finish. Eq13 为 PMR 浴室供应和安装不锈钢支撑杆，以及确保良好完成所需的所有工作。Eq13 | Un | 1
15.11 | Supply and assembly of stainless steel support bars for PMR toilets and all the work required for a good finish. Eq14 为 PMR 马桶供应和组装不锈钢支撑杆，以及确保良好饰面所需的所有工作。Eq14 | Un | 1
15.12 | Supply and installation of a ceramic washbasin for PMR sanitary facilities and all the work necessary for a good finish. Eq15 为无障碍卫生设施提供和安装陶瓷洗脸盆，并完成所有必要的施工以确保良好的完工效果。Eq15 | Un | 1
15.13 | Supply and assembly of stainless steel support bars for PMR toilets and all work necessary for a good finish. Eq17 为无障碍卫生间提供并安装不锈钢扶手，并完成所有必要的施工以确保良好的完工效果。Eq17 | Un | 1
15.14 | Supply and installation of space-saving siphon for 2 washbasins and all work necessary for a good finish. Eq22 为两个洗脸盆提供和安装节省空间的虹吸管，以及完成良好饰面所需的所有工作。Eq22 | Un | 8
15.15 | Supply and installation of toilet roll holder with lid. and all work necessary for a good finish. Eq23 供应和安装带盖的卫生纸架，以及完成良好饰面所需的所有工作。Eq23 | Un | 9
15.16 | Supply of toilet brush and floor-mounted toilet brush holder. Eq24 供应马桶刷和落地式马桶刷架。Eq24 | Un | 9
15.17 | Supply of 5L stainless steel waste garbage can with lid. Eq25 供应 5L 不锈钢带盖垃圾桶。Eq25 | Un | 9
15.18 | Supply of liquid soap dispenser application. Eq28 液体肥皂分配器应用的供应。Eq28 | Un | 4
15.19 | Supply of paper towel dispenser application. Eq29 纸巾分配器应用的供应。Eq29 | Un | 4
15.20 | Supply of stainless steel automatic hand dryer application. Eq30 不锈钢自动干手器应用的供应。Eq30 | Un | 4
16 | 0
16.1 | Supply of work table with 2 office seats including chairs. 提供带有 2 个办公座椅的工作台，包括椅子。 | Un | 2
16.2 | Supply of work table with 4 office seats including chairs. 提供带有 4 个办公座椅的工作台，包括椅子。 | Un | 1
16.3 | Supply of work table with 6 office seats including chairs. 提供带有 6 个办公座椅的工作台，包括椅子。 | Un | 1
16.4 | Supply of work table with 7 office seats including chairs. 提供工作台和 7 个办公座椅，包括椅子。 | Un | 2
16.5 | Supply of 3-seater sofa. 供应三人沙发。 | Un | 4
16.6 | Supply of side table (center) 侧桌供应（中心） | Un | 3
16.7 | Supply of filing cabinets 文件柜供应 | Un | 17
16.8 | Supply of plastic cacifers for Balneario. Eq18 为 Balneario 供应塑料罐。EQ18 | Un | 6
17 | 0
17.1 | Guards警卫
17.1.1 | Supply and installation of a 0.90 m high handrail in brushed stainless steel tubes and a 30 x 30 mm brushed stainless steel flat bar (upstream), including fixing accessories and all work necessary for a good finish. And in accordance with the drawings. 供应和安装一个 0.90 m 高的拉丝不锈钢管扶手和一个 30 x 30 mm 的拉丝不锈钢扁杆（上游），包括固定附件和良好饰面所需的所有工作。并按照图纸。
17.1.1.1 | Staircase _GUARD 01 | ml | 5.7
17.1.1.2 | Ramp _GUARD 02 | ml | 3.6
17.1.1.3 | Guard _GUARD 03 | ml | 2.2
17.2 | Stonework石材工艺
17.3.1 | Supply and installation of marble countertops. Including all work necessary for a good finish. EQ 09 大理石台面的供应和安装。包括完成良好饰面所需的所有工作。EQ 09 | ml | 9.2